Spectroscopy

---
Absorption
1) percent transmission ( %Tl = 100 x Il/I0,l )
Reported by:
2) absorbance ( Al = log {I0,l/Il} = el c l )
Measured by:
single or double beam spectrophotometer
R
S
light source
monochromator
cuvette holder
detector

---
Significance of deviations from the Beer-Lambert Law:
If nothing happens in a solution as a function of concentration of the component solutes, that is there are no concentration-dependent interactions, then the OD should increase linearly with increases in concentration of the components (this requires that all solute components have proportional increases in concentration or that different components have equivalent extinction coefficients.
Deviations mean interactions. The change in absorbance versus concentration will follow the thermodynamics of the system, reflecting cooperativity, positive or negative, or lack thereof.

---
Aromatic Amino Acids
Trp (W) Tyr (Y) Phe (F)

---
Absorption Spectra of the Nucleic Acids

---
Hasselbacher et, al., Biophys J 60, 20 (1995)
Lakowicz, Principles Fluorescence Spectroscopy 3rd Ed., 2006

---
Tryptophan Analogs
5-fluorotryptophan 4-fluorotryptophan
5-hydroxytryptophan 7-azatryptophan
Ross et al.,Topics in Fluorescence Spectroscopy 6, Lakowicz ed. 2000

---
Tryptophan Analogs
Ross et al., Meth Enzymol 278, 151 (1998)
Ross et al., Meth Enzymol 278, 151 (1998)
Ross et al., Proc Natl Acad Sci USA 89, 12923 (1992)

---
Tryptophan Analogs
Ross et al., Topics in Fluorescence Spectroscopy 6, 17 (2000)

---
Why is this plot not linear for the entire range?
At some point the absorbance is so high that not sufficient light passes through to the detector, and linearity is no longer satisfied.
The absorbance at which an instrument becomes non-linear depends on the following factors:
Concentration of the analyte
Lamp intensity at the measured wavelength
Extinction coefficient of the analyte at measured wavelength
Sensitivity of detector at the measured wavelength
Relationship between
Absorbance and Concentration
For best accuracy, always measure between 0.1 – 1.0 OD

---
Concentration
Beer-Lambert Law (Beer’s Law): Al = el c l
most accurate range to obtain c: between 15 and 65 %T
  which is A between 0.2 and 0.8
Identification of Chromophore(s) by Spectra
Are spectra from multiple chromophores in a macromolecule additive?
A(l,sample) = aA(l,a) + bA(l,b) + gA(l,c) + dA(l,d) + …..
LINCS: LINear Combination of Spectra
approximately linear in proteins
but not linear in DNA or RNA
Investigate Interacting Systems by Difference Spectra
Quantification of Binding
Evaluation of Conformational Changes
Laws and Shore, J. Biol Chem 254, 2582 (1979)

---
PRINCIPLES OF FLUORESCENCE SPECTROSCOPY
Born in County Sligo, Ireland, Stokes was the Lucasian Professor of Mathematics at Cambridge from 1849 until his death in 1903.
Some major contributions:
Fluid dynamics (Stokes’ Law)
Wave theory of light
Polarization of light
Fluorescence of minerals
Stokes’ line (Raman scatter)
Sir George Stokes
1819-1903
Lakowicz, Principles Fluorescence Spectroscopy 3rd Ed., 2006

---
Jabłonski Diagram
Time Scales
Si
Abs.: ~ 10 –15 s
IC.: < 10 –12 s
Fluor: ~ 10 –9 s
S3
Frank-Condon state
S2
S1
S0
Absorption
E = h
   Internal
Conversion
Fluorescence

---
Lakowicz, Principles Fluorescence Spectroscopy 3rd Ed., 2006

---
Jabłonski Diagram
Time Scales
Si
Abs.: ~ 10 –15 s
IC.: < 10 –12 s
Fluor: ~ 10 –9 s
ISC: ~ 10 –9 s
S3
Frank-Condon state
S2
S1
S0
Absorption
E = h
   Internal
Conversion
S0
T1
T2
Intersystem
   Crossing
Fluorescence

---
Jabłonski Diagram
Si
Abs.: ~ 10 –15 s
IC.: < 10 –12 s
Fluor: ~ 10 –9 s
ISC: ~ 10 –9 s
Phos: > 10 –6 s
S3
Frank-Condon state
S2
S1
S0
Absorption
E = h
   Internal
Conversion
S0
T1
T2
Intersystem
   Crossing
Fluorescence
Phosphorescence

---
Single Trp Residue in Cod Parvalbumin; 77 K
Absorbance
Fluorescence
Phosphorescence
250 300 350 400 450 500
wavelength (nm)
Relative Intensity or Absorbance

---
Loss of Energy from Excited State back to Ground State
- Internal Conversion (IC; mainly through vibrational relaxation)
- Quenching: collisions with solvent, solutes, or groups of chromophore
- Intersystem Crossing (ISC)
phosphorescence from long-lived triplet state
- Förster Resonance Energy Transfer (FRET)
- Emission of a photon
fluorescence from lower energy than from initial Frank-Condon state;	Stoke’s shift
Excited-State Reactions